## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2026-03-20 10:00 | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
91H-T11 | 91H-T11 | 3/24/2026 | 5/29/2026 | [7 empty] | TC2 must run at Basic System Loads >1500 MW
System Condition Notice |  | 3/23/2026 0600 | 3/23/2026 2000 | [7 empty] | If ML > 168MWs then {10min Reserve Requirement = Flows on ML} Else if ML<= 168MWs { 10min Reserve Requirement = 168MWs }
System Condition Notice |  | 3/25/2026 0700 | 3/25/2026 1100 | [7 empty] | 10min reserve requirement is 225MW
NB STOP 029 |  | 3/24/2026 | 3/24/2026 | [8 empty] | Limit flows east to (NS + PEI) to 300MW
System Condition Notice |  | 3/26/2026 0700 | 3/26/2026 1100 | [7 empty] | 10min reserve requirement is 225MW